## Attachment A - Accreditations
Instructions:
1. Fill out the yellow cells in the table below to show your lab's accreditations and/or proof of ability to conduct photometric, photovoltaic, battery, and electronics tests.
2. Suggested accreditations are supplied for photometric and photovoltaic testing. If your lab does not hold the suggested accreditation for one of these testing categories, please specify and describe any other accreditations or certificates held by the lab related to the testing category.
3. If your lab does not hold any accreditations or certificates for a testing category, please provide proof of staff experience to successfully conduct tests in each of the categories.
4. Include any additional notes in the final column of the table that you think would be helpful in showing your lab's ability to conduct tests in each of the testing categories.
Category: | Accreditation/ Certificate/Experience |  | Holds Suggested Accreditation or Describe other Accreditation | Accrediting Body | Time of Initial Accreditation [month, year] | Last Renewed [month, year] | Additional Notes
Photometry | Suggested accreditation: | ISO 17025 accreditation to conduct tests according to LM-79
Specify other accreditation/certificate:
Specify other accreditation/certificate:
Provide proof of staff experience to successfully conduct photometry tests
Photovoltaics | Suggested accreditation: | ISO 17025 accreditation to conduct tests according to IEC 61215 and IEC 61646
Specify other accreditation/certificate:
Specify other accreditation/certificate:
Provide proof of staff experience to successfully conduct photometry tests
Battery | Specify accreditation/certificate:
Specify other accreditation/certificate:
Provide proof of staff experience to successfully conduct battery tests
Electronics | Specify accreditation/certificate:
Specify other accreditation/certificate:
Provide proof of staff experience to successfully conduct electronics testing

## Attachment B - WorkFlow Diagram
Instructions:
1. | Using the IEC /TS 62257-9-5 work flow diagram below, populate the yellow cells in the table to the right with the test lab & location for each of the specified tests, as well as the lead person for each test.
2. | An example for how the "Intake" test could be filled out is shown in the first row of the table.
3. | If your lab is planning to follow a work flow path that is different than the diagram below, please re-arrange the work flow diagram to represent how your lab plans to conduct testing.
4. | Include additional rows in the table, if necessary, to explain your organization's testing logistics.
5. | If your lab is planning to conduct all of the tests in one lab at one location, then filling in the test lab & location column may feel redundant. Please completely fill out the table, nonetheless.
7. | Be sure to include resumes for each lead lead person in your submission, as specified in the RFP.
| Work Flow Diagram for IEC /TS 62257-9-5 Tests: | Table to Fill Out:
|  | Tests | Test Lab & Location | Lead Person
|  | Example: Intake | Schatz Energy Research Center, California, USA | Jane Doe
Intake
Battery test
PV module I-V characteristics test
Full-battery run time
Charge controller behavior test – deep discharge protection
Charge controller behavior test – standby loss
Solar charge test
Charge controller behavior test – overcharge protection
Grid charge Test
Mechanical charge test
Light output test
Light distribution test
Lumen Maintenance
Battery Storage
Physical and water ingress protection
Mechanical durability
Report preparation
Product arrival
Visual screening and photos
Shipping inspection and label products
Sample preparation
Battery test
PV module I-V char. test
Full-battery run time
Grid charge Test
Solar charge test
Light distribution test
Light output test
Mechanical charge test
Charge controller behavior test – deep discharge protection
Lumen Maintenance
Mechanical durability
Report preparation
Charge controller behavior test – overcharge protection
Charge controller behavior test – standby loss
Physical and water ingress protection
Intake
General Testing Samples 1-6
Samples
7-12
Spare Sample
Battery Storage
Samples
7-12 Batteries
Samples 14-18 (Spares or after Lumen Maintenance)

## Attachment C - Equipment List
Instructions:
1. Populate the yellow cells in the table to the right with the equipment proposed to conduct each of the tests.
2. In the fourth column, indicate whether the equipment will provide the required test outputs and meet the additional requirements specified in the reference table to the left.
3. "Equipment Ranges & Specifications and Testing Units Available" column: Fill out the ranges and required equipment specifications for the outputs already written in the
4. In the "Equipment Ranges & Specifications and Testing Units Available" column, some tests require an input of how many testing units and channels per testing unit are available. This is used to determine how many samples can be tested at one time.
5. In the "Proposed Equipment Already Owned" column, enter "yes" or "no" to indicate if your lab already owns all of the equipment listed in the "Proposed Equipment" column.
6. An example for how the PV module I-V characteristics test could be filled out is shown in the first row of the table to the right.
7. Use the "Additional Notes on Achieving Required Test Outputs" column to address any additional equipment ranges, ways that you will address the inability to provide required outputs, etc.
8. Images of the equipment are preferred but not required.
Reference Table: |  |  | Table to Fill Out:
|  |  | Tests | Proposed Equipment | Model Number (s) | Able To Achieve All Required Test Ouputs by IEC /TS 62257-9-50 (If not, specify which ones your equipment is not able to achieve) | Able To Achieve the Specified Additional Equipment Capabilities (If not, specify which ones your equipment is not able to achieve) | Equipment Ranges & Specifications and Testing Units Available | Proposed Equipment Already Owned | Additional Notes on Achieving Required Test Outputs | Image of Equipment
Tests | Outputs Required by IEC /TS 62257-9-5 | Additional Equipment Requirements | Example: PV module I-V characteristics test | Oriel Sol3A Class AAA Solar Simulator Keithley Source Meter | 94083A 2400 | Yes | No Cannot test amorphous modules | Power: 0.2 W to 10 W Current [A]: up to 2 A Voltage [V]: up to 60 V Module dimensions: up to 8" x 8" Accuracy: < 0.5% | Yes | We would need to purchase an additional standard in order to test amorphous modules.
Battery test | Battery capacity, Milliampere-hours (mAh) at a specific discharge current Battery storage efficiency, Percentage (%) | Must test battery chemistries: NiCd, NiMH, SLA, Li-ion, LiFePO4 Requires a conditioned space at 20 °C ± 5 °C Analyzer programmable to meet recommendations in Table K.2 in IEC /TS 62257-9-5 | Battery test |  |  |  |  | Battery capacity [mAh]: Battery voltage: Max Accuracy: Number of testing units: Number of channels per testing unit:
PV module I-V characteristics test | Short-circuit current (Isc) at STC, Amperes (A) Open-circuit voltage (Voc) at STC, Volts (V) Maximum power point power (Pmpp) at STC, Watts (W) Maximum power point current (Impp) at STC, Amperes (A) Maximum power point voltage (Vmpp) at STC, Volts (V) Short-circuit current (Isc,TMOT) at TMOT, Amperes (A) Open-circuit voltage (Voc,TMOT) at TMOT, Volts (V) Maximum power point power (Pmpp,TMOT) at TMOT, Watts (W) Maximum power point current (Impp,TMOT) at TMOT, Amperes (A) Maximum power point voltage (Vmpp,TMOT) at TMOT, Volts (V) Temperature coefficient, Per degree Celsius (1/°C) STC I-V Curve dataset, Volts (V), Amperes (A) | Must test PV module types: mono crystalline, poly-crystalline, and amorphous | PV module I-V characteristics test |  |  |  |  | Power: Current [A]: Voltage [V]: Module dimensions: Accuracy: Number of testing units: Number of channels per testing unit:
Full-battery run time | Full-battery run time to L70, Hours (h) Average relative light output through L70, Percentage (%) Average battery voltage and current at average relative light output (i.e., the “average operating point”), Voltage (V) and current (mA) Average power over the L70 run time, Watts (W) Energy removed from the battery over the L70 run time, Watt-hours (Wh) Active deep discharge protection, Yes/no Deep discharge protection voltage, Volts (V) Passive deep discharge protection, Yes/no Passive deep discharge protection battery voltage at 24 h, Volts per cell (V/cell) | -- | Full-battery run time |  |  |  |  | Relative light output precision [percent of maximum measurement]: Data acquisition equipment precision [min, mV, mA]: Voltage accuracy: Current accuracy: Storage [measurements]: Number of testing units: Number of channels per testing unit:
Charge controller behavior test – deep discharge protection | Active deep discharge protection, Yes/no Deep discharge protection voltage, Volts (V) Passive deep discharge protection, Yes/no Passive deep discharge protection battery voltage at 24 h, Volts per cell (V/cell) | -- | Charge controller behavior test – deep discharge protection |  |  |  |  | Data acquisition equipment precision [min, mV, mA]: Voltage accuracy: Current accuracy: Storage [measurements]:
Charge controller behavior test – standby loss | 30-day battery standby loss fraction, Percentage (%) | -- | Charge controller behavior test – standby loss |  |  |  |  | Precision [mA]:
Solar charge test | Solar operation efficiency (ηsol-op), Percentage (%) Battery-charging circuit efficiency (ηbcc), Percentage (%) Solar run time (standard solar day), Hours (h) Solar charging system characteristics | Power supply is programmable | Solar charge test |  |  |  |  | Power supply voltage resolution: Power supply current resolution: Power supply load regulation: Current [A]: Voltage [V]: Number of testing units: Number of channels per testing unit:
Charge controller behavior test – overcharge protection | Active overcharge protection, Yes/no Overcharge protection voltage, Volts (V) Passive overcharge protection, Yes/no Passive overcharge protection continuous charging current, Milliamperes (mA) | Protection device detecting battery voltage or temperature required to prevent overcharge battery explosion | Charge controller behavior test – overcharge protection |  |  |  |  | Power supply voltage resolution: Power supply current resolution: Power supply load regulation: Current [A]: Voltage [V]: Number of testing units: Number of channels per testing unit:
Grid charge Test | Grid-charge run time, Hours (h) | Ability to supply 240 VAC | Grid charge Test |  |  |  |  | Data acquisition equipment precision [min, mV, mA]: Voltage accuracy: Current accuracy: Storage [measurements]:
Light output test | Luminous flux, Lumens (lm) Correlated colour temperature (CCT), Kelvin (K) Colour rendering index (CRI), 0-100 (unitless) | Must test lamp types: LED, CFL, and Incandescent | Light output test |  |  |  |  | Spectroradiometer detector range [nm]: Diameter [m]: Number of calibrated lamp standards:
Light distribution test | Vertical and horizontal full width half maximum (FWHM) angles, Degrees (°) Usable area with illuminance greater than a specified threshold, Area (m2) Luminous flux, Lumens (lm) | -- | Light distribution test |  |  |  |  | Precision:
Lumen Maintenance | Lumen maintenance at 2 000 h, % Lumen maintenance at 1 000 h, % Lumen maintenance at 500 h, % | Requires a conditioned space at 24 °C ± 3 °C | Lumen Maintenance |  |  |  |  | Power supply voltage resolution: Power supply current resolution: Power supply load regulation: Current [A]: Voltage [V]: Number of testing units: Number of channels per testing unit:
Battery Storage | Capacity loss from storing, Percentage (%) | Oven can keep samples at 30˚C and 60˚C | Battery Storage |  |  |  |  | --
Physical ingress protection | IP2x, Pass/fail IP4x, Pass/fail IP5x, Pass/fail | -- | Physical ingress protection |  |  |  |  | --
Water ingress protection | IPx1, Pass/fail IPx3, Pass/fail | -- | Water ingress protection |  |  |  |  | --

## Attachment D - Rates
Instructions:
1. Populate the yellow cells in this form with the tests that you currently perform or have recently performed at your lab, which are relevant to the testing methods specified in IEC /TS 62257-9-5.
2. Two examples are provided in the first two rows. The component tests in the "Component Tested" column are those which we are most interested in knowing your pricing structure.
3. Ideally, include 3 prices for each test: (1) for testing a single sample, (2) for testing a quantity of samples specified in the "Quantity Option One" column, and (3) for testing a quantity of samples specified in the "Quantity Option Two" column.
4. If you have variations on your tests, or different tests that you conduct but are relevant to the testing methods specified in IEC/TS 62257-9-5, please include those tests in the additional rows. Examples of relevant different tests include but are not limited to: IPX1, IP2X, IP5X, battery efficiency for all battery chemistries, additional battery capacity tests for Li-ion, NiMH, and NiCd battery chemistries, and lumen degradation after 1000 hours.
Component Tested | Test Description | Test Outputs | Price Per Single Sample Tested | Quantity Option One | Price Per "Quantity Option One" Samples Tested | Quantity Option Two | Price Per "Quantity Option Two" Samples Tested | Additional Notes | Example Test Report Included in RFP (If so, include file name)
Example: Photovoltaic module (Crystalline) | Determine maximum power output using an IV curve measurement technique according to IEC-61215 | Power [W], Short-circuit current [A], Open-circuit voltage [V], Maximum power-point current [A], Maximum power-point voltage [V] | 180 | 6 | 900 | 60 | 7200 | The voltage temperature coefficient, TCVOC , is an additional reported test output. | Yes PVTest_Report_Product23AKL_20131115.pfd
Example: Enclosure | Determine if water enters the enclosure from vertically falling drops of water according to IEC-60529 | IPX1 [pass/fail] | 500 | 6 | 2500 | 60 | 20000 | Water falls vertically over the enclosure from a drip box at 1 mm/min over 10 minutes. | No
Photovoltaic module (Crystalline) | Determine maximum power output using an IV curve measurement technique according to IEC-61215 | Power [W], Short-circuit current [A], Open-circuit voltage [V], Maximum power-point current [A], Maximum power-point voltage [V] |  | 6 |  | 60
Photovoltaic module (Amorphous) | Determine maximum power output using an IV curve measurement technique according to IEC-61646 | Power [W], Short-circuit current [A], Open-circuit voltage [V], Maximum power-point current [A], Maximum power-point voltage [V] |  | 6 |  | 60
Enclosure | Determine if water enters the enclosure from spraying water up to 60˚ from vertical according to IEC-60529 | IPX3 [pass/fail] |  | 10 |  | 100
Enclosure | Determine if an object probe of 12.5 mm can penetrate into the enclosure according to IEC-60529 | IP2X [pass/fail] |  | 10 |  | 100
LED Lamp | Luminous flux according to LM-79 | Luminous flux [lm] |  | 6 |  | 60
LED Lamp | Lumen depreciation after 2000 hours | Lumen Degradation [% of initial] |  | 6 |  | 60
Battery (SLA) | Battery capacity at 0.1C charge and discharge rates | Battery capacity [mAh] |  | 6 |  | 60
Battery (LiFePO4) | Battery capacity at 0.2C charge and discharge rates | Battery capacity [mAh] |  | 6 |  | 60